Table 1.  Squaw Creek Watershed Snapshot Sampling Results – May 15, 2010.

|  | Unit | Method | # of samples | Min Value | Percentiles |  |  | Max Value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 25th | 50th | 75th |  |
| Water Temperature | °F | IOWATER thermometer | 51 | 38 | 48 | 51 | 52 | 63 |
| Chloride | mg/L | IOWATER test strip | 50 | <29 | <29 | <29 | 41 | 285 |
| pH | pH units | IOWATER test strip | 52 | 7 | 8 | 8 | 8 | 9 |
| Nitrite-N | mg/L | IOWATER test strip | 51 | 0 | 0 | 0 | 0.15 | 0.3 |
| Nitrate-N | mg/L | IOWATER test strip | 52 | 0 | 2 | 2 | 5 | 10 |
| Dissolved Oxygen | mg/L | IOWATER Field Kit | 51 | 4 | 8 | 10 | 10 | 12 |
| Orthophosphorus | mg/L | IOWATER Field Kit | 46 | 0 | 0.2 | 0.2 | 0.4 | 5 |
| Transparency | centimeters | IOWATER transparency tube | 50 | 5 | 8 | 22 | 53 | 60 |
| E. coli Bacteria | MPN/100 ml | Lab Analysis | 52 | 20 | 170 | 435 | 813 | 3,900 |

mg/L = milligrams per liter (or parts per million - ppm)

MPN/100 ml = Most Probable Number per 100 milliliters of water