Table 1.  Squaw Creek Watershed Snapshot Sampling Results – October 11, 2008.

|  | Unit | Method | # of samples | Min Value | Percentiles |  |  | Max Value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 25th | 50th | 75th |  |
| Water Temperature | °F | IOWATER thermometer | 54 | 45 | 55 | 58 | 59 | 67 |
| Chloride | mg/L | IOWATER test strip | 54 | <30 | <30 | 33 | 49 | 318 |
| pH | pH units | IOWATER test strip | 54 | 7 | 8 | 9 | 9 | 9 |
| Nitrite-N | mg/L | IOWATER test strip | 54 | 0 | 0 | 0 | 0 | 0.15 |
| Nitrate-N | mg/L | IOWATER test strip | 54 | 0 | 2 | 2 | 5 | 10 |
| Dissolved Oxygen | mg/L | IOWATER Field Kit | 54 | 5 | 8 | 8 | 10 | 12 |
| Orthophosphorus | mg/L | IOWATER Field Kit | 53 | 0 | 0.2 | 0.3 | 0.4 | 7 |
| Transparency | centimeters | IOWATER transparency tube | 50 | 15 | 56 | 60 | 60 | 60 |
| E. coli Bacteria | MPN/100 ml | Lab Analysis | 53 | 50 | 430 | 680 | 990 | 3,300 |

mg/L = milligrams per liter (or parts per million - ppm)

MPN/100 ml = Most Probable Number per 100 milliliters of water