Table 1.  Squaw Creek Watershed Snapshot Sampling Results – October 10, 2015

|  | Unit | Method | # of samples | Min Value | Percentiles |  |  | Max Value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 25th | 50th | 75th |  |
| Water Temperature | °F | IOWATER thermometer | 32 | 42 | 53 | 54 | 55 | 66 |
| Chloride | mg/L | IOWATER test strip | 29 | <29 | <29 | 31 | 48 | 298 |
| pH | pH units | IOWATER test strip | 33 | 7 | 8 | 9 | 9 | 9 |
| Nitrite-N | mg/L | IOWATER test strip | 32 | 0 | 0 | 0 | 0 | 1 |
| Nitrate-N | mg/L | IOWATER test strip | 33 | 0 | 5 | 10 | 10 | 20 |
| Dissolved Oxygen | mg/L | IOWATER Field Kit | 33 | 5 | 8 | 10 | 10 | 12 |
| Orthophosphorus | mg/L | IOWATER Field Kit | 32 | 0 | 0.1 | 0.2 | 0.2 | 3 |
| Transparency | centimeters | IOWATER transparency tube | 33 | 43 | 60 | 60 | 60 | 60 |
| E. coli Bacteria | CFU/100 ml | IOWATER method | 33 | 0 | 167 | 333 | 567 | 1,100 |

mg/L = milligrams per liter (or parts per million - ppm)

CFU/100 ml = Colony Forming Units per 100 milliliters of water